**easyflex Metal fastening bracket**

**g0013137**

Renson Ventilation, IZ 2 Vijverdam, Maalbeekstraat 10, 8790 Waregem – België

Tel. +32 (0)56 62 71 11, fax. +32 (0)56 60 28 51, [info@renson.be](mailto:info@renson.be) www.renson.eu

description

This fastening bracket can be used for all fixings of the Easyflex® range. Screws or pins can be used for clasping.

product characteristics

* Made of chromed steel
* 63 x 48 x 188 mm

APPLICATION

* The components that can be fastened with this bracket are the following:
* The Easyflex® flexible duct (G0013110)
* The Easyflex® flat oval duct (G0013126)
* Fastening of all Easyflex® accessories
* Coupling with all distribution boxes