**easyflex Quick fastener**

**g0013112**

Renson Ventilation, IZ 2 Vijverdam, Maalbeekstraat 10, 8790 Waregem – België

Tel. +32 (0)56 62 71 11, fax. +32 (0)56 60 28 51, [info@renson.be](mailto:info@renson.be) www.renson.eu

description

These quick fasteners are used for all fixings of the Easyflex® range; always to be used in pairs. The fastening can be done using screws or concrete pins.

The fastening with clips makes overhand mounting much easier. The first quick fasteners can first be screwed to the ceiling, then the flexible can be easily clipped without tools.

product characteristics

* Made of polypropylene
* Pre-formed mounting
* Fastening with clips that can be reopened

APPLICATION

* The components that can be fastened with these quick couplings are the following:
  + The Easyflex® flexible duct (G0013110)
  + The Easyflex® flat oval duct (G0013126)
  + Coupling of all Easyflex® accessories